## Slide 2: Cumulative Antibiogram (CA) – Basics and Pitfalls
Jens Thomsen MD MPH
Section Head, Environmental Health
Abu Dhabi Public Health Center

## Slide 3: Learning Objectives
Identify recommendations for CA preparation
Discuss routine versus enhanced CA
Explain how to handle repeat specimens
Explain how to ensure quality of cumulative antibiograms (avoiding common pitfalls)

## Slide 4: What is a Cumulative Antibiogram (CA)?
Definitions:
A report summarizing the susceptibility of commonly isolated microorganisms to usual antibiotics in a defined period of time
A periodic summary of antimicrobial susceptibility of clinically relevant bacterial and fungal isolates from clinical samples
..

## Slide 5: Routine versus Enhanced Cumulative Antibiogram
Routine CA
  Reporting overall susceptibility rates (no stratification)
  Isolates from all sources / locations / units etc.
Enhanced CA
  Routine CA, plus stratified data (breakdowns)
    By nursing unit or site of care (patient location, e.g. IP/OP/ICU)
    By specimen type (e.g. blood, urine, respiratory, pus, …)
    By infection site (e.g. S. pneumoniae: meningitis/non-men.)
    By clinical service or patient population
  Additional analysis, e.g. combination therapy

## Slide 6: How does a Cumulative Antibiogram look like?
CLSI M39-A4, 2014 [1]

## Slide 7: CA: Other examples…

## Slide 8: CA: Other examples…

## Slide 9: CA: Other examples…

## Slide 10: Why a Cumulative Antibiogram?
It is crucial to monitor current levels, and emerging trends in resistance at the local, and national level to support
  Clinical decision making
  Infection control interventions, and
  Antimicrobial-resistance containment strategies

## Slide 11: Why a Cumulative Antibiogram? (2) – Recommended by Relevant Guidelines
A calculated therapy with antimicrobial agents for any given patient depends on available microbiological results for this patient and his immediate environment, as well as on the resistance situation of the unit where the patient is treated.
If such data are not available, regional, or national data can be utilized.
S2k Guideline: EAT of bacterial infections in adults (PEG, Germany, 2019) [2]

## Slide 12: Why a Cumulative Antibiogram? (3) – It is required by Hospital Accreditation Standards (e.g. JCI)
JCI [10]. CDC (2014) [9]

## Slide 13: Why a Cumulative Antibiogram? (4) – It is a legal requirement in Abu Dhabi (Dept. of Health)
Mandatory Elements for the Implementation of ASP:
  Clause 4.5 Cumulative Antibiogram: “Develop and update a facility-based cumulative antibiogram, at least once a year, and publish internally to ensure access by Healthcare Professionals”
DoH Standard for Antimicrobial Stewardship Programs (Dec 2017) [3]

## Slide 14: Why a Cumulative Antibiogram? Overall:
Cumulative antimicrobial susceptibility test (AST) data are needed to
Inform clinicians on local levels and trends of antimicrobial resistance/susceptibilities
Guide clinicians for making decisions on initial empirical antimicrobial therapy for infections
Guide and inform antibiotic stewardship programs (ASPs)
Reveal and document trends in emerging resistance at HCF level
Compare susceptibility rates, within and across different facilities
Benchmark to national and international susceptibility rates, and to
Comply with accreditation and legal requirements

## Slide 15: CLSI Guideline M39-A4, 2014
CLSI M39-A4, 2014 [1]
“It is important to recognize that many of the specific recommendations … have been made with the primary aim in guiding clinicians in the selection of initial empirical antimicrobial therapy (EAT)”

## Slide 16: CLSI Guideline M39-A4, 2014
CLSI M39-A4, 2014 [1]
“CA is useful to clinicians in the selection of the most appropriate agents for initial empirical antimicrobial therapy (EAT)”
First isolate per patient only
CA is not suitable for individual patient management

## Slide 17: CLSI Guideline M39-A4, 2014 - Summary
CLSI M39-A4, 2014 [1]
Routine CA
  Should be generated at least 1x/year
  Isolates from all sources/location types/units
Enhanced CA
  Sub-group analysis (if number of isolates allows)
  Routine CA + Breakdowns by
    Location type
    Specimen type,
    Patientcare unit, etc.
  Additional analysis

## Slide 18: CLSI Guideline M39-A4, 2014 - Summary
CLSI M39-A4, 2014 [1]
DO REPORT
  Final, validated AST results
  Species with results for N≥30 isolates*
  Routinely tested antibiotics
  %Susceptible
  Diagnostic isolates
  First isolate per species/ patient/analysis period
DO NOT REPORT
  Preliminary AST results
  Species with results for N<10 isolates*
  Selectively tested antibiotics
  %Resistant, %Intermediate
  Surveillance + QC isolates
  Duplicate isolates (copy strains, multiple isolates)
*If 10<N<30: Consider grouping, or add a note of caution

## Slide 19: Reporting ‘All Isolates’, versus ‘Diagnostic Isolates’ only
Kohlmann R, Gatermann SG. PLoS One (2016) [4]
‘All Isolates’ skews %R estimates towards higher resistance rates, thus:
Do not report surveillance or screening isolates:
  MRSA/CRE/VRE Screening
  Nose/axilla/groin?
Report diagnostic isolates
How to filter for them?
Know your local screening policies, and how the data is coded

## Slide 20: WHONET Software allows to exclude Screening and QC/Lab Isolates
WHONET 2019 [11]
By default, QC/Lab isolates are excluded from analysis
By default, Screening isolates are excluded from analysis

## Slide 21: Reporting ‘All Isolates’, versus ‘First Isolate’ only
Report ‘First Isolate per Patient’ only, remove duplicates
Kohlmann R, Gatermann SG. PLoS One (2016) [4]. WHO 2001 [7]
How to filter for ‘First isolate’?
By which criteria? (E.g.: Patient? Time interval? Phenotype?)

## Slide 22: WHONET Software allows to Filter for ‘First Isolate’
WHONET 2019 [11]
By patient
First isolate with antibiotic results
Do not consider time interval, e.g. 30 days
Do not consider resistance phenotype
Note: By default, WHONET considers all isolates (no deduplication)

## Slide 23: Presenting the Data
Date of the report
Name of the Laboratory / Facility
Information about the AST methodology and interpretation standard used
Report breakpoint changes, if applicable
Separate tables for relevant Gram-neg. bacteria, and Gram-pos. bacteria
  If applicable: Anaerobes, Yeasts
CLSI M39-A4, 2014 [1]

## Slide 24: Presenting the Data (Continued)
Recommended list of Gram-neg. Bacteria:
CLSI M39-A4, 2014 [1]
  Acinetobacter baumannii**
  Citrobacter freundii
  Enterobacter aerogenes*
  Enterobacter cloacae
  Escherichia coli
  Haemophilus influenzae
  Klebsiella pneumoniae
  (Klebsiella oxytoca)
  (Moraxella catarrhalis)
  Morganella morganii
  Proteus mirabilis
  (Proteus vulgaris)
  Providencia spp.
  Pseudomonas aeruginosa**
  Salmonella spp.
  Serratia marcescens
  (Serratia liqufaciens)
  Shigella spp.
  Stenotrophomonas maltophilia**
*now: Klebsiella aerogenes
**Glucose-non-fermenting: may be grouped together

## Slide 25: Presenting the Data (Continued)
Recommended list of Gram-pos. Bacteria:
  Enterococcus spp., and separately (if identified to species level):
    Enterococcus faecalis
    Enterococcus faecium
  Staphylococcus aureus
  Coag.-neg. Staphylococci, and separately (if sufficient numbers):
    S. lugdunensis
    S. saprophyticus
  (Streptococcus agalactiae)
  Streptococcus pneumoniae
  (Streptococcus pyogenes)
  Viridans group Streptococci (from usually sterile sources)
CLSI M39-A4, 2014 [1]

## Slide 26: Presenting the Data (Continued)
Recommended list of anaerobe Bacteria:
  Bacteroides fragilis
  Bacteroides fragilis group (other than B. fragilis)
  Clostridium perfringens
CLSI M39-A4, 2014 [1]

## Slide 27
Facility name
Time period
R: Intrinsic resistance
Selective testing
(NIT)
‘-’: Drug not indicated or not tested
First isolate only
%Susceptible
Number of isolates
Resistance trends
Antibiotics by Class

## Slide 28: Presenting the Data – Subgroup Analysis (Enhanced CA)
CLSI M39-A4, 2014 [1]
Streptococcus pneumoniae

## Slide 29: Presenting the Data – Subgroup Analysis (Enhanced CA)
CLSI M39-A4, 2014 [1]
S. aureus / MRSA / MSSA

## Slide 30: Presenting the Data – Subgroup Analysis (Enhanced CA)
CLSI M39-A4, 2014 [1]
S. aureus – By Patient Location

## Slide 31: Presenting the Data – Subgroup Analysis (Enhanced CA)
CLSI M39-A4, 2014 [1]
Enterococcus spp. / E. faecalis / E. faecium

## Slide 32: Presenting the Data – Subgroup Analysis (Enhanced CA)
CLSI M39-A4, 2014 [1]
E. coli (all) / Non-Urine / Urine

## Slide 33: Presenting the Data – Subgroup Analysis (Enhanced CA)
CLSI M39-A4, 2014 [1]
K. pneumoniae – By MDRO Phenotype

## Slide 34: Presenting the Data – Additional Analysis (Enhanced CA)
CLSI M39-A4, 2014 [1]
Single- and Combined-Drug Susceptibility
Note:
This is not a SYNERGY Study
Results are based on the combination of susceptibilities to individual drugs
Very easy to do in WHONET
(Scatterplot Analysis)

## Slide 35: Presenting the Data – Additional Analysis (Enhanced CA)
CLSI M39-A4, 2014 [1]
By Susceptibility Profile
Very easy to do in WHONET
(Resistance Profiles)

## Slide 36: Presenting the Data: Why N ≥ 30? Confidence intervals
95% Confidence Intervals (C.I.)* quantify the precision of the %S estimate. They depend on sample size:
12 out of 30 isolates are susceptible: %S = 40 %
  95 % C.I.: 22% - 58 % (±18%)
40 out of 100 isolates are susceptible: %S = 40 %
  95 % C.I.: 30% - 50% (±10%)
400 out of 1000 isolates are susceptible: %S = 40 %
  95 % C.I.: 37% - 43% (±3%)
4,000 out of 10,000 isolates are susceptible: %S = 40 %
  95 % C.I.: 39% - 41% (±1%)
*Agresti and Coull [5]

## Slide 37: Presenting the Data: Why N ≥ 30? Confidence intervals
CZT: Ceftolozane-Tazobactam
CZA: Ceftazidime-Avibactam
Selectively tested (few MDR isolates)
 Highly ‘resistant’
 large confidence intervals
Antibiotic: CZT CZA TZP CAZ FEP IPM MEM AMK GEN
Isolates tested (N): 19 20 3,159 3,494 3,365 …
Large C.I. = less precise estimate
Small C.I. = highly precise estimate
Do not report in CA!

## Slide 38: Interpretation Standards: CLSI versus EUCAST, here: Meropenem
Pathogen | EUCAST (2019) (S/R) – mg/l | CLSI (2019) (S/R) – mg/l
Enterobacterales | ≤2 / >8 | ≤1 / ≥4
Pseudomonas spp. | ≤2 / >8 | ≤2 / ≥8
Acinetobacter spp. | ≤2 / >8 | ≤2 / ≥8
Staphylococcus spp. | Depends on susceptibility to Cefoxitin | Depends on susceptibility to Oxacillin (or Cefoxitin)
Streptococcus Gr. A, B, C, G | Depends on susceptibility to Penicillin | ≤0.5 / -
Streptococcus pneumoniae | General: ≤2 / >2 Meningitis: ≤0.25 / >1 | ≤0.25 / ≥1
Haemophilus influenzae | General: ≤2 / >2 Meningitis: ≤0.25 / >0.25 | ≤0.5 / -
Neisseria meningitidis | ≤0.25 / >0.25 | ≤0.25 / -
Independent of species | ≤2 / >8 | Not defined
Not a problem in UAE, as most labs use CLSI

## Slide 39: Breakpoints may change over time. Example: Ciprofloxacin
Current Fluoroquinolone Breakpoints (CLSI 2019/29th ed.)
Historic Fluoroquinolone Breakpoints (up to CLSI 2018/28th ed.), replaced by Current Fluoroquinolone breakpoints
Be aware of breakpoints changes, and report them
CLSI MR02 (2019) [14]

## Slide 40: Breakpoints may change over time. Example: Ciprofloxacin
CLSI MR02 (2019) [14]
CAs should be based on test measurements (MIC/IZD),
not on interpreted results
This is in particular important for analysis of trends over time

## Slide 41: Effects of Breakpoints changes. Example: S. pneumoniae/PEN
CLSI MR02 (2019) [14]

## Slide 42: Intrinsic Resistance (R): Gram-neg. Bacteria (Enterobacterales)
CLSI M100 (2019) [6]
  ‘R’ also available for:
  Non-fermenters
  Staphylococcus spp.
  Enterococci

## Slide 43: Presenting the Data: Trends over Time ()
 shows a statistically significant reduction of the percentage susceptible isolates
Resistance trends
How to assess statistical significance of trends?

## Slide 44: Presenting the Data: Trends over Time ()
AMR Surveillance. ADPHC/Dept. of Health Abu Dhabi (2019)

## Slide 45: Presenting the Data: Comparisons and Trends ()
Statistical significance of Changes in Susceptibility Rates (%S), e.g.:
  Current year/previous year, inpatient/outpatient, …  Chi-square*
  Multiple years  Chi-square for trends (extended Mantel-Haenszel)
  Can be calculated e.g. with Epi Info (CDC)
p value
  p ≤ 0.05 is generally accepted to indicate that the differences seen are not likely due to chance alone
Note:
  ‘Statistically significant’ difference is not equivalent with ‘clinically/ epidemiologically important’
WHO 2001 [7]. CLSI M39-A4, 2014 [1] Epi Info []
*if small number of isolates, or %S/%R close to 0: Fisher’s exact test

## Slide 46
Doing a Chi-Square Test for Trends with Epi InfoTM
Click on ‘STATCALC’

## Slide 47
Doing a Chi-Square Test for Trends with Epi InfoTM
Click on ‘Chi Square for Trend

## Slide 48
Doing a Chi-Square Test for Trends with Epi Info
P value
Enter the years, and number of cases and controls

## Slide 49: Estimate of Sample Size needed for Documenting increasing Resistance Frequencies
WHO 2001 [7]
Example:
If 5% of isolates in a sample of 200 is resistant in the first sample:
… an increase to 11% or more in a second sample indicates a significant increase.

## Slide 50
Presenting the Data: Using Colors, or not?
Using GREEN color only?

## Slide 51
Presenting the Data: Using Colors, or not?
Using
GREEN, YELLOW,
and RED colors?

## Slide 52
Presenting the Data: Using Colors, or not?
The Sanford Guide to Antimicrobial Therapy [12]

## Slide 53
Presenting the Data: Using Colors, or not?
ECDC Surveillance Atlas of Infectious Diseases (2019) [13]
Percentage of K. pneumoniae isolates resistant to Carbapenems (2018)

## Slide 54
Presenting the Data: Using Colors, or not?
Colors might be helpful to get the key messages across, … BUT:
There is a risk that colors are misunderstood as:
GREEN = ‘GOOD’
RED = ‘BAD’
Which may result in less use of ‘BAD’ drugs, and over-utilization of ‘GOOD’ drugs, incl. Carbapenems

## Slide 55
Presenting the Data: Using Colors, or not?
AMR Surveillance. ADPHC/Dept. of Health Abu Dhabi (2019)
Either don’t use Colors AT ALL
when reporting to
‘ALL DOCTORS’,
OR
Use colors in a smart way
Limit the use of Colors:
Internal discussions (ASP Core Team)
Presentations (Key messages)

## Slide 56
Presenting the Data: Using Colors, or not?
INFECT.info:
Using colors in a smart way
MS Excel:
%S
%S
Color scales
INFECT.info [8]

## Slide 57: Summary – The BASICS when reporting CAs:
Facility name
Time period (at least once per year)
Routine CA (all isolates), if possible (N≥30): Enhanced CA
% Susceptible isolates (%S)
Separate tables for Gram-, Gram+, Anaerobes, and Yeasts
Test method and interpretation standard used
First isolate only, no Screening / QC isolates
Routinely tested antibiotics only
Highlight intrinsic resistance (‘R’), and ‘–’

## Slide 58: Summary – Common PITFALLS
Small sample size (N<30)
Duplicate isolates
Screening and QC isolates
Antibiotics selectively tested for resistant antibiotics
Statistical significance for comparisons and trends
CLSI versus EUCAST breakpoints
Breakpoints may change over time

## Slide 59: Summary – Other PITFALLS
Susceptibility testing not performed correctly
Reproducibility of testing results (e.g. MIC) is not 100%
Sensitivity and Specificity of In-Vitro diagnostic systems and machines for AST is not 100%
Not taking into account expert interpretation rules
Missing isolates with already reduced susceptibility (first-step mutants, e.g. S. pneumoniae and FQs*)
*Pletz et all, AAC 2006[15]

## Slide 60: References (1)
Analysis and Presentation of Cumulative Antimicrobial Susceptibility Test Data. M39-A4. Clinical and Laboratory Standards Institute. 4th ed. (2004)
Calculated parenteral initial therapy of bacterial infections in adults. Paul-Ehrlich Society (PEG). S2k Guideline, p32. AWMF 082-006 (2019)
Standard for Antimicrobial Stewardship Programs. Department of Health Abu Dhabi. www.doh.gov.ae (2017)
Analysis and Presentation of Cumulative Antimicrobial Susceptibility Test Data – The Influence of Different Parameters in a Routine Clinical Microbiology Laboratory. Kohlmann R, Gatermann SG. PLoS One (2016) 11(1):e0147965
Agresti, Alan; Coull, Brent A. (1998). "Approximate is better than 'exact' for interval estimation of binomial proportions". The American Statistician. 52 (2): 119–126. doi:10.2307/2685469.
Performance Standards for Antimicrobial Susceptibility Testing. M100:2019. Clinical Laboratory and Standards Institute (CLSI). 28th Edition (2019)
Surveillance standards for antimicrobial resistance. World Health Organization. WHO/CDS/CSR/DRS/2001.5. www.who.int (2001)
INFECT by anresis.ch. https://infect.info/

## Slide 61: References (2)
The Core Elements of Hospital Antibiotic Stewardship Programs. CDC. https://www.cdc.gov/antibiotic-use/healthcare/pdfs/core-elements.pdf (2014)
JCI Accreditation Standards for Hospitals, 6th Edition. https://www.jointcommissioninternational.org
WHONET. Software for AMR Surveillance. www.whonet.org
The Sanford Guide to Antimicrobial Therapy. https://www.sanfordguide.com/
ECDC. Surveillance Atlas for Infectious Diseases. https://www.ecdc.europa.eu/en/antimicrobial-resistance
Fluoroquinolone Breakpoints for Enterobacteriaceae and Pseudomonas aeruginosa. CLSI rationale document MR02 (2019)
Prevalence of First-Step Mutants among Levofloxacin-Susceptible Invasive Isolates of S. pneumoniae in the USA. Pletz MWR et al. AAC. 2006;50(4):1561-3.
Epi Info. Centers for Disease control and Prevention (CDC). https://www.cdc.gov/epiinfo/index.html